## Slide 1: Simplified active and reactive power control with MPPT using 3-phase grid connected pv inverter
Introduction
Overview
PLL System
Inverter Dynamics Modelling
Recommendation and References
Simulation and Conclusion
A Renewable Energy Interface System

## Slide 2: INTRODUCTION
Renewable Energy Demand Surge :
In recent times, there has been a notable surge in demand for renewable energy sources driven by escalating concerns regarding environmental degradation and the need for sustainable energy solutions.
This demand spike has been particularly evident due to the adverse effects associated with conventional energy sources such as fossil fuels.
Intermittency Challenge:
The irregular nature of these energy sources leads to fluctuations in power output, which necessitates the development of robust systems for managing and integrating renewable energy into the existing power grid.
Utility Grid Integration Importance:
Integrating renewable energy systems seamlessly with the existing utility grid is crucial for ensuring a reliable and stable power supply.

## Slide 3: INTRODUCTION
Presentation Structure Overview:
The presentation will be structured as follows:
Introduction: Providing an overview of the renewable energy management system and the challenges it addresses.
Overview: Summarizing key findings and implications.
Phase-Locked Loop (PLL) System: Explaining the functioning of the PLL system for voltage phase estimation.
Inverter Dynamics Modelling: Control strategy of 3-phase CGI upon implementing PLL.
Simulation Setup and Results: Detailing the simulation process and presenting the obtained results.

## Slide 4: Simplified active and reactive power control with MPPT using 3-phase grid connected pv inverter
Introduction
Overview
Inverter Dynamics Modelling
Recommendation and References
Simulation and Conclusion
PLL System
A Renewable Energy Interface System

## Slide 5: Overview of 3-phase Grid Connected Inverter
Introduction:
In recent years, 3-phase grid-connected inverters have become essential components in renewable energy systems, facilitating the integration of renewable energy sources with the utility grid.
Components of the Inverter: DC source, BUS capacitance (MOSFET), LCL filter
Fig 1. Block representation of 3-phase GCI

## Slide 6: Overview of 3-phase Grid Connected Inverter
Control of Three-Phase Grid-Connected Inverter :
Fig 2. Internal structure of 3-phase GCI
S1–S6 are the power electronics switches (MOSFET/IGBT) which form the inverter bridge.
Inductors (L1, L2) and capacitors (C) form LCL filter.
Finally, inverter is connected to the grid. Vga, Vgb, and Vgc are grid voltage of a, b, and c phases, respectively.
Similarly, ia, ib, and ic are obtained as grid current.

## Slide 7: Overview of 3-phase Grid Connected Inverter
The current produced by the inverter contains lots of harmonics.
In order to avoid all these issues, filter is used at the inverter output.
After connecting the filter, smooth sinusoidal current is obtained without any harmonics.
Figure 2 shows basic schematic of the 3-phase GCI. Vdc is DC voltage source at the input.

## Slide 8: Simplified active and reactive power control with MPPT using 3-phase grid connected pv inverter
Introduction
Overview
Inverter Dynamics Modelling
Recommendation and References
Simulation and Conclusion
PLL System
A Renewable Energy Interface System

## Slide 9: Phase-Locked Loop (PLL) System
Introduction:
Synchronization is critical for ensuring the seamless integration of the inverter with the grid.
Failure to achieve synchronization can result in circulating currents that may damage the system.
Various synchronization techniques exist, including zero crossing, Atan function, and PLL.
Phase-Locked Loop (PLL):
A simple model of a three-phase PLL system comprises an abc-to-αβ transform, αβ-to-dq transform, loop filter, and voltage-controlled oscillator (VCO).
The output of the VCO provides the estimated phase of the dq voltages, enabling precise current regulation to control the output power of the renewable energy system contributed to the utility grid.

## Slide 10: Direct-quadrature Axis Theory
This theory is generally used to design controller and analysis of 3-phase grid connected system.
There are two transformations in the dq axis theory, i.e., forward and reverse transformation.
Forward transformation is AC to DC transformation while reverse transformation is DC to AC transformation.
Fig. 3 abc–αβ–dq coordinate axis

## Slide 11: abc Coordinate Transformation
0.0
0.5
1.0
-0.5
-1.0
Plane:
Since because of 3 phase 3 wire system, the trajectory lies in a plane.
For balance 3 phases, the steady-state trajectory is a circle.

## Slide 12: Clarke (abc to ) Transformation
Due to planar trajectory, 2D coordinates () can well represent 3-phase output current.
Plane
For 3-phase 3 wire system, trajectory always lies in plane

## Slide 13: Park ( to dq) Transformation
axes are rotating
to dq
PLL

## Slide 14: Current Compensation and Inverse Transformation
PLL
PI
PI
Inverse Coordinate Transformation from dq to abc

## Slide 15: Simplified active and reactive power control with MPPT using 3-phase grid connected pv inverter
Introduction
Overview
Inverter Dynamics Modelling
Recommendation and References
Simulation and Conclusion
PLL System
A Renewable Energy Interface System

## Slide 16: Inverter Dynamics Modelling
Introduction:
Dynamic modeling is crucial for understanding the behavior of a 3-phase Grid-Connected Inverter under varying conditions and optimizing its performance in renewable energy systems.
Control Strategy Overview:
Figure 4 (on the next slide) illustrates the control strategy of the 3-F GCI.
The controller setup begins with sensing the 3-phase abc voltages, which are then transformed into 2-phase αβ voltages.
A Phase-Locked Loop (PLL) is implemented using these αβ voltages, followed by transformation into dq voltages.

## Slide 17: Inverter Dynamics Modelling
Fig. 4 Control block of 3-phase CGI
….(5)
….(6)
….(7)
….(8)

## Slide 18: Inverter Dynamics Modelling
Current Sensing and Transformation: The inverter-side current is transformed into the αβ domain and further transformed into the dq domain.
Active and Reactive Currents (Id and Iq): Id and Iq represent active and reactive currents, respectively. The error is determined by subtracting Id and Iq from the reference current. This error is then fed into a Proportional-Integral (PI) controller to calculate the voltages Ud and Uq.
Voltage Calculations: The voltages Vd and Vq are computed using equations (5) and (6), respectively. For Space Vector Pulse Width Modulation (SPWM), the modulation index (Md and Mq) relates to the inverter voltage (Vdc).
Equations (7) and (8) define this relationship, where Vdc represents the DC voltage source. Finally, the voltages Ed and Eq are multiplied by (2/Vdc) to obtain Vd and Vq, respectively

## Slide 19: Simplified active and reactive power control with MPPT using 3-phase grid connected pv inverter
Introduction
Overview
Inverter Dynamics Modelling
Recommendation and References
Simulation and Conclusion
PLL System
A Renewable Energy Interface System

## Slide 20: SIMULATIONS AND CONCLUSION